## Sheet1
TECHNICAL MARKS FOR 551(100336) NEW NAME (1085)- PROVISION OF INFRASTRUCTURE FACILITIES & EQUIPMENT TO THE UPGRADED GPIS AT GCT NOWSHERA,, TO THE LEVEL OF COLLEGE OF TECHNOLOGY CIVIL TECHNOLOGY EQUIPMENT DATE OF TENDER OPENING 06-08-2020 DAE CIVIL TECHNOLOGY
Item No. | Name of Items | M/S Electrical Engineering Lahore. |  |  |  | M/S Anmol Scientific Corporation, Lahore |  |  |  | Kadeer Brothers Lahore
|  | Product Evaluation Parameters | Firm Evaluation | Total | Remarks | Product Evaluation Parameters | Firm Evaluation | Total | Remarks | Product Evaluation Parameters | Firm Evaluation | Total | Remarks
[7 empty] | Parameters |  |  |  | Parameters
1. | BOD Incubator. | 52 | 37 | 89 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
2. | BOD Measurement System compatible with BOD Incubator. | 0 | 0 | 0 | Specification not matching with the offered Specification Rejected | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
3. | COD reflux condenser assembly | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
4. | COD digester | 53 | 37 | 90 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
5. | COD photometer | 53 | 37 | 90 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
6. | calibrations chemicals | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
7. | Turbidity meter with Calibration Kit. | 39 | 37 | 76 | Technically Qualified | 49 | 23 | 72 | Technically Qualified | 0 | 0 | 0 | Not Quoted
8. | Microscope : | 53 | 37 | 90 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
9. | china dishes | 49 | 37 | 86 | Technically Qualified | 49 | 23 | 72 | Technically Qualified | 0 | 0 | 0 | Not Quoted
10. | Scientific balance: | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 53 | 32 | 85 | Technically Qualified
11. | Crucible, | 49 | 37 | 86 | Technically Qualified | 49 | 23 | 72 | Technically Qualified | 0 | 0 | 0 | Not Quoted
12. | Special filtration assembly: | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
13. | Inhofe cone with accessories: | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
14. | Oil and grease | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
15. | Lab Oven | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 49 | 32 | 81 | Technically Qualified
16. | Programmable Muffle Furnace: | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 53 | 32 | 85 | Technically Qualified
17. | Balance | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 53 | 32 | 85 | Technically Qualified
18. | Hygroscopic meter | 49 | 37 | 86 | Technically Qualified | 49 | 23 | 72 | Technically Qualified | 0 | 0 | 0 | Not Quoted
19. | A combine handy meter in belt facility of nitrogen oxide, Sulfur oxide. Carbon oxide. | 53 | 37 | 90 | Technically Qualified | 49 | 23 | 72 | Technically Qualified | 0 | 0 | 0 | Not Quoted
20. | Calibration gases compatible with combine handy meter. | 53 | 37 | 90 | Technically Qualified | 49 | 23 | 72 | Technically Qualified | 0 | 0 | 0 | Not Quoted
21. | PH Meter Portable: | 53 | 37 | 90 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
22. | VACUUM PUMP | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
23. | MAGNETIC STIRRER | 53 | 37 | 90 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
24. | WATER BATH | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
25. | AUTOCLAVE | 45 | 37 | 82 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
26. | FlocculationTester: | 53 | 37 | 90 | Technically Qualified | 49 | 23 | 72 | Technically Qualified | 0 | 0 | 0 | Not Quoted
27. | Spectrophotometer(digital) | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
28. | Conductivity Meter | 49 | 37 | 86 | Technically Qualified | 53 | 23 | 76 | Technically Qualified | 0 | 0 | 0 | Not Quoted
29. | Portable Multi-gas Analyzer capable of measuring : | 53 | 37 | 90 | Technically Qualified | 0 | 0 | 0 | Not Quoted | 0 | 0 | 0 | Not Quoted